## USD
2023-01-01
Item # | Description | List price in USD from Jan. 2023
810900E | Operating and service manual (GB) | 41.44
810910D | Spare part catalogue | 6.71
811204B | Back plate, evaporator (SCU pre 2007) | 316.76
811204C | Back plate, evaporator (SCU 2007 to 2017) | 346.39
811204D | Back plate, evaporator (SCI 9'6") | 170.95
811204E | Back plate, evaporator (SCI 8'6") | 183.44
811215B | Inlet ring, evaporator fan | 712.58
811504B | Mounting plate, evaporator fans SCU | 357.89
811506G | Fan grille, evaporator SCI | 125.46
811506H | Fan grille, evaporator SCU | 183.94
811517B | Drain gutter, right | 9.98
811518B | Drain gutter, left | 10.62
811522B | Defrost heater element, tray | 118.65
811524L | Coil, evaporator | 1895.8
811537D | Bracket, evaporator fan motor | 156.68
813565B | Custom seal grille, air exchange right | 8.59
813566B | Custom seal grille, air exchange left | 9.56
814201B | Round frame, condenser | 621.9
814201C | Cond. frame, square (L=1625mm) | 514.09
814201D | Cond. frame, square (L=1701mm) | 446.89
814237A | Frame, controller box CIM 6 | 232.85
814247C | Cable, FC (1.0 and 1.1) to compressor | 103.31
814538D | Mounting ring, filter (5 pcs) | 29.62
814540B | Receiver | 1684.12
814540G | Receiver, 1.8L | 351.31
814541B | Round fan grille, condenser | 106.93
814541C | Square fan grille, condenser | 89.2
814562B | Seal, controller door CIM5 | 29.28
814571B | Insulation, economizer | 42.65
814642B | Hinge, controller cabinet CIM 5 | 9.49
814642D | Hinge, controller cabinet + door CIM 6 (10pcs.) | 65.11
814643B | Hinge, controller door CIM 5 | 7.5
814644C | Hinge pin (10 pcs.) | 56.85
814653C | Cover, FC 1.0 | 109.71
814654C | Frequency conv.safety cover | 38.62
814667F | Economizer | 177.71
814673B | Controller door cover, CIM 5 | 91.36
815206B | Sensor bracket, air exchange module | 16.65
815208B | Cover plate, air exchange (SCU pre May 2006) | 101.75
815208C | Cover plate, air exchange (SCU pre Mar 2008) | 101.75
815208D | Cover plate, air exchange SCI | 134.24
815208E | Cover plate, air exchange (SCU post Mar 2008) | 139.99
815209B | Cover plate (1715 mm), condenser | 95.21
815210B | Inspection cover, CIM 5 | 138.24
815210C | Inspection cover, complete | 88.53
815214B | Supply tube assembly | 12.75
815215B | Pipe, Evap. - suction (SCU) | 70.1
815215D | Pipe, evap. suction 9"6" (SCI) | 83.77
815215E | Pipe, evap. Suction 8"6" (SCI) | 84.51
815242A | CA Membrane Module, Complete | 1466.98
815505B | Cover, power cable SCU | 94.54
815505C | Cover, power cable SCI | 70.74
815505D | Cable Room Cover | 75.43
815506B | Cover plate, controller | 107.7
815506E | Cover plate, controller | 124.99
815508C | Seal, air exchange cover plate SCU (10 pcs) | 61.63
815509B | Seal, condenser cover plate | 4.72
815514B | Unit back plate lower, SCU CIM 5 | 386.85
815514C | Unit back plate lower, SCU CIM 6 | 273.67
815514E | Unit back plate lower, SCI (8'6") | 250.62
815519B | Cable cutter | 7.05
815519F | Cable cutter (4x2.5 mm2) (5 pcs) | 36.86
815519G | Cable cutter (4x4.0 mm2) (5 pcs) | 57.6
815520B | Plug, supply sensor | 3.1
815534B | Hinge part, inspection cover CIM 5 | 3.55
815553B | Insect mesh, air exchange | 30.97
815558C | Gasket, suction service valve (10 pcs) | 49.85
815559B | Flange, suction service valve | 82.6
815561C | Pipe, evaporator liquid SCU | 25.17
815561E | Pipe, evaporator liquid (SCI 8'6") | 28.28
815561F | Pipe, evaporator liquid (SCI 9'6") | 28.84
815566E | Drain Hose | 9.71
815570B | Decal,fan starts automatically | 1.45
815571B | Decal, warning hot components | 1.39
815572B | Decal, R134a | 1.53
815573B | Decal, PTI stickers | 2.83
815575B | Decal, warning high voltage | 1.39
815578B | Decal, discon. before welding | 1.39
815586B | Decal, Star Cool | 12.1
815588B | Decal, controller menu CIM5 | 4.61
815588C | Decal, controller menu CIM6 | 3.69
815589B | Decal, electrical diagram CIM5 | 11.63
815589C | Decal, electrical diagram CIM6 | 8.18
815589D | Decal, CA electrical diagram | 8.02
815590B | Decal, USDA sensor placement | 1.43
815594C | Decal, FC bypass | 1.39
815595B | Decal, fan rotation direction | 1.23
815606C | Decal, air exchange | 1.41
815653D | USDA cover (SCI 9'6") (5 pcs) | 33.46
815655C | Hinge EPDM | 21.31
815704B | Air ex. module, camshaft | 15.59
815715C | Mounting bracket, Vacuum pump | 20.78
818141B | Sekstant Gateway V1.2 | 489.37
818145A | Defrost drain cup (5 pcs) | 32.9
818151A | CA membrane cover plate (50 pcs) | 341.87
818152A | Plug, vacuum hose (100 pcs) | 53.51
818155A | Mounting kit, Sekstant Gateway (10 pcs) | 179.38
818157A | Battery housing, Sekstant Gateway (10 pcs) | 51.69
818158A | Battery housing, CIM 6 battery pack (10 pcs) | 58.76
818160A | R513A conversion kit | 162
818170B | Torque screwdriver | 244.18
818171A | Torque check tool, 0-10 Nm | 2463.14
818175A | Compressor end gasket (10 pcs) | 155.93
818202B | Cable adapter kit, fan motor (10 pcs) | 102.33
818203A | Insulation, economizer | 23.65
818204B | Front handle kit, SCI (2 pcs) | 70.26
818206A | Mounting kit, solenoid coil CIM 5 (50 pcs) | 442.04
818209C | Cover plate (1751 mm), condenser | 56.8
818209D | Cover plate (2100 mm), condenser SCI | 60.1
818223A | Cable, bypass FC | 34.47
818225A | Shield, vacuum pump | 82.52
818226A | Sight glass, vacuum pump (5 pcs) | 362.76
818230B | Service kit, evaporator motor | 42.55
818231B | Service kit, condenser motor | 49.73
818233B | FC, gasket service kit | 95.12
818234A | Valve piping kit, R134a | 79.06
818234B | Valve piping kit, R513A | 77.76
818235B | Sight glass kit, receiver | 47.62
818236B | Melt fuse kit | 21.56
818239A | Pipe, stop valve to filter (5 pcs) | 28.3
818241D | Spare part kit, FC 1.1 | 64.75
818250E | Damper, air exchange module | 40.32
818251A | Test damper (CA) | 335.42
818251B | Damper, CA flushing | 333.52
818253A | Foam gasket, air exchange damper (10 pcs) | 72.11
818255C | Controller module, CIM5 | 1218.34
818260A | Splice kit, AKS to NSK | 46.59
818262A | Screw, X1-X3 cable CIM 5 (50 pcs) | 78.01
818265B | Screw and washer kit (100 pcs) | 52.82
818266B | Rivets (4.8 mm) (100 pcs) | 44.95
818267B | Wing screw kit (10 pcs) | 39.75
818269A | Contactor clip kit (10 pcs) | 15.17
818270C | Air exchange module (75 cmh) | 95.16
818271A | Pistons, air exchange module | 7.86
818273A | Insect mesh, air exchange module (35 cmh) | 17.36
818274A | Front part, air exchange module (35 cmh) | 35.42
818274C | Front part, air exchange module (75 cmh) | 38.7
818275A | Motor, air exchange module | 66.67
818276A | Sensor, air exchange module | 178.99
818283A | Cover, air exchange sensor (5 pcs) | 10.07
818284A | Cover, air exchange motor (5 pcs) | 9.07
818285A | CA curtain kit incl. tools (10 pcs) | 545.7
818286A | CA curtain kit (15 pcs) | 677.79
818290B | Power splitter (2x16 amp) (2 pcs) | 233.81
818298A | Studs bolt repair kit (25 pcs) | 68.27
818305C | Controller box, CIM 6 | 667.33
818310B | Controller door, CIM 5 | 776.03
818310C | Controller door, CIM 6 | 265.91
818325A | Clamp, discharge pipe kit | 22.48
818326B | Front handle kit, SCU (2 pcs) | 29.52
818326C | Front handle kit, SCU post May 2020 (2 pcs) | 14.46
818327A | Mounting kit, FC | 61.17
818328A | Crimping tool kit | 298.83
818329A | Butt splice (100pcs) | 87.16
818331A | Butt splice, temperature sensor (100 pcs) | 68.47
818335A | End housing kit, compressor | 550.4
818336A | Z-profile, SCU back panel | 77.85
818338A | Z-profile, SCI back panel | 61.44
818341A | Controller plugs support kit (10 pcs) | 78.09
818345A | Cable, terminal to USB | 8.65
818347A | Bracket repair kit, evaporator fan motor | 40.91
818350A | Air exchange kit, SCI | 90.75
818351A | Decal, electrical diagram CIM 6.2 (10 pcs) | 85.71
818353A | Mounting kit, suction service valve flange | 7.51
818356A | Oil filter w. filter adapter, vacuum pump | 115.76
818357A | Accessories kit, vacuum pump | 39.59
818360C | Cable set complete, CIM 6 | 1578.05
818362A | Cable set, modem | 57.29
818362B | Cable, RMM wire harness (10 pcs) | 573.37
818370A | Black cover, FC 2.0 | 47.11
818375A | Mounting kit, compressor | 18.01
818380A | Gasket, inspection cover CIM 6 (20 pcs) | 100.34
818410A | Sensor bracket (5 pcs) | 9.2
818422E | ArrowSpot modem | 927.63
818425A | ArrowSpot modem bracket | 10.29
818426A | Cable gland, modem (25 pcs) | 111.82
818430A | Cable gland, RCD modem 3.0 (20 pcs) | 214.32
818450A | Star Cool Connect Dongle | 66.16
818461B | Cable set, controller box CIM 5 | 298.4
818461C | Cable, internal communication CIM 6 | 50.4
818465A | Cable, CA controller module | 24.97
818488A | Decal, controller menu CIM6 (5 pcs) | 12.45
818502A | Schräder valve tool | 4.49
818503A | Oil level dipstick, compressor | 2.94
818511B | Power measurement PCB, CIM 5 | 330.71
818512A | Controller module, CA | 745.83
818513A | User panel, CIM6 | 1042.66
818515A | Display PCB, CIM5 | 452.96
818517A | LED PCB, CIM5 | 36.07
818518B | Transformer (145 VA), CIM 5 | 149.51
818518C | Transformer (105 VA), CIM 6 | 124.2
818520A | Main circuit breaker, CIM 5 | 110.45
818521B | Contactor | 34.8
818522C | Auxiliary contact (red dot) | 41.68
818522F | Auxiliary contact (white dot) (10 pcs.) | 155.01
818523C | Interlock, contactor (10 pcs.) | 60.47
818525B | On/Off PCB, CIM5 | 63.11
818525C | On/Off switch, CIM6 | 78.45
818526C | Terminal block PCB, CIM 5 | 210.65
818527B | Keypad, CIM 5 | 128.95
818527C | Keypad, CIM 6 | 90.27
818530A | Fuse (10 A) (10 pcs) | 20.88
818531A | Fuse (0.4 A) (10 pcs) | 16.9
818534A | Fuse holder (0.4 A) | 17.98
818536B | Battery pack, CIM 5 | 33.35
818536C | Rechargeable battery pack, CIM 6 | 135.52
818537A | Humidity sensor, CIM 6 | 292.76
818538A | Heating element, vacuum pump | 455.11
818542B | Cover foil, LED CIM5 | 28.48
818542C | Cover foil, LED CIM6 | 28.77
818544B | Cover foil, on/off PCB CIM 5 | 29.29
818545B | Fuse (6.3 A) (10 pcs) | 8.21
818546B | Fuse (0.63 A) (10 pcs) | 17.51
818551A | Humidity sensor, CIM 5 | 233.32
818553A | Solenoid coil (14 W 24V DC), CIM 5 | 65.12
818554A | Solenoid coil (18 W 24V DC), CIM 5 | 61.17
818555D | Sensor NTC 2.5 mm (21 pcs) | 1153.93
818556C | Sensor PT100 6.0 mm (20 pcs) | 2108.38
818559A | Power plug (10 pcs) | 80.13
818561B | Cable set (X1, X2, and X3), CIM 5 | 168.03
818563A | Cable, humidity sensor CIM 5 | 44.59
818563B | Cable, humidity sensor CIM 6 | 48.47
818564A | Cable, pressure transmitter (AKS) | 46.19
818564B | Cable, pressure transmitter (NSK) | 46.16
818565B | Cable, FC power | 68.49
818566B | Cable, FC communication | 39.74
818572B | Cable, air exchange sensor | 41.6
818575A | Cable, data retrieval | 136.84
818575D | Cable, data retrieval USB | 139.41
818601B | Valve plate, compressor LP | 407.52
818602B | Valve plate, compressor HP | 416.95
818605B | Cylinder head gasket kit | 41.09
818612B | Bolt kit, cylinder head | 37.27
818619C | Cap, stop valve (M18x1.5) (6 pcs) | 66.83
818619D | Cap, stop valve (M15x1) (6 Pcs) | 22.97
818623C | Service valve, compressor LP | 355.05
818625D | Evacuation valve, LP | 4.11
818626B | Evacuation valve, HP | 5.81
818629B | Cap, service valve LP (10 pcs) | 230.71
818630B | Cap, compressor stop valve (10 pcs) | 230.69
818631B | Cap, evacuation valve LP (10 pcs) | 97.36
818632B | Cap, evacuation valve HP (10 pcs) | 97.36
818633B | Sight glass, compressor | 124.51
818634B | O-ring, sight glass (10 pcs) | 63.33
818635B | Plug, compressor oil filter | 80.66
818636B | Gasket, compressor oil plug | 9.13
818637B | Spring, compressor oil filter | 6.11
818638B | Oil filter, compressor | 34.5
818639B | Terminal block, compressor | 106.74
818652A | Permanent magnet | 90.15
818655B | Bolt, compressor stop valve | 8.44
818656B | Gasket, compressor stop valve (10 pcs) | 100.99
818658B | Compressor | 4279.78
818660B | Bolt, service valve LP | 17.25
818661B | Gasket, service valve LP (10 pcs) | 58.21
818662B | Suction filter, compressor | 20.37
818664B | Cable gland, M40 | 21.97
818665C | Cable gland, M20 (10 pcs) | 27.7
818666C | Cable gland, M25 (10 pcs) | 44.3
818667B | Oil BSE 55, compressor | 60.66
818668A+C | Oil (1 L), vacuum pump | 98.11
818669A | Oil filter, vacuum pump | 111.52
818672A+C | Oil (20 L), vacuum pump | 1016.73
818675B | Service kit, hot gas valve CIM 5 | 76.29
818675C | Service kit, hot gas valve CIM 6 | 43.57
818676B | Tool, hot gas valve CIM 5 | 34.94
818698A | Motor console, evaporator fan | 44.11
818711A | Battery, Sekstant Gateway | 118.28
818720A | Supply sensor pocket (10 pcs) | 23.55
818738A | Filter dryer, R134a and R513A (12 pcs) | 207.66
818739A | Receiver, water cooled condenser | 1780.71
818741A | O2 sensor, CA | 754.57
818745A | CO2 sensor, CA/AV | 409.16
818752B | Cable, vacuum pump motor | 50.95
818754A | Cable, air exchange motor (CA/AV) | 51.45
818760B | Connector plug, solenoid coil (5 pcs) | 131.23
818764A | Cable, FC 2.0 to compressor | 40.27
818770B | 2 pin connector (3.81mm/90°) (5 pcs) | 22.08
818771B | 3 pin connector (3.81 mm/90°) (5 pcs) | 28.06
818772B | 4 pin connector (3.81mm/90°) (5 pcs) | 34.19
818773B | 5 pin connector (3.81mm/90°) (5 pcs) | 40.17
818774B | 6 pin connector (3.81mm/90°) (5 pcs) | 46.14
818775B | 10 pin connector (3.81mm/90°) (5 pcs) | 72.46
818776B | 4 pin connector (3.81mm/0°) (5 pcs) | 27.29
818777B | 5 pin connector (3.81mm/0°) (5 pcs) | 40.22
818778B | 2 pin connector (5.08mm/90°) (5 pcs) | 16.4
818790A | Seal, controller door CIM 6 | 24.84
818792A | Motor, condenser fan | 383.82
818795A | Fan motor support, condenser | 69.79
818800B | Drain plug, container (10 pcs) | 58.44
818801A | Front baffle plate support | 9.25
818805D | Ethylene filter (12 pcs) | 475.39
818811A | Insect mesh, air exchange module (75 cmh) (5 pcs) | 22.58
818817A | Curtain track EPDM | 170.2
818820A | Test manometer, vacuum pump | 1367.07
818821A | Vacuum control tool, vacuum pump | 1828.27
818822A | Magnehelic manometer 0-5" | 255.18
818826B | Power plug, female (10 pcs) | 199.34
818828B | Power plug 3H6H (10 pcs.) | 161.11
818830A+C | Power cable (4x4 mm2 91 m/300 ft) | 1022.78
818831A+C | Power cable (4x4 mm2 457 m/1500 ft) | 5113.88
818837C | Splice kit (FSK3) (50 pcs) | 1446.45
818845A | Cap, evacuation valve HP (10 pcs) | 6.4
818890A | Tool for FC | 100.23
818895A | Bracket, receiver SCU (5 pcs) | 52.35
818897A | Receiver, water cooled condenser | 1910.14
818905A | Power Meas Module CIM6.2 | 499.5
818906A | Main circuit breaker, CIM 5 | 110.45
818908A | Main Circuit Breaker Schneider | 131.26
818925A | Controller Module CIM6.2, USB | 1550.56
818930B | Contactor, Schneider | 36.1
818931B | Schneider Auxiliary Contact (10 pcs.) | 121.28
818932B | Interlock, Schneider (10 pcs.) | 96.95
818937A | Humidity sensor, CIM 6 | 280.02
818940A | Temp Sensor 0,35m | 29.48
818943B | Temperature sensor, Tsup 3.0m incl.cable gl. | 44.94
818965A+B | Frequency Converter 2.0 | 1328.1
818975A | Receiver bracket | 14.29
818980A | Back plate, evaporator (SCU post 2017) | 183.83
819500C | Stop valve, receiver | 64.91
819501A | High pressure switch | 51.55
819503D | Pressure transmitter, LP DST | 81.68
819504D | Pressure transmitter, HP DST | 83.49
819526B | Condenser coil | 1377.92
819530B | Vacuum pump w plug | 2850.69
819536C | Coupling WCC, female | 73.6
819537C | Coupling WCC, male (SC only) | 16.77
819540C | Plug, water outlet coupling (10 pcs.) | 34.82
819541C | Plug, water inlet coupling (10 pcs.) | 18.05
819542C | Fan blade, evaporator | 35.44
819543B | Fan blade, condenser | 171.26
819545B | Coupling WCC, male | 16.47
819550B | Gasket. O-ring, compressor | 0.32
819572C | Cable gland, M12 | 21.13
819589C | Motor, evaporator Fan w plug | 402.2
819595B | Retriever socket | 31.84
819605A | Pressure transmitter, Vacuum | 54.43
819617B | Self-locking nut, M6 (Box of 100 pcs.) | 45.32
819621B | RMM module | 450.27
819623A | Bracket, RCD modem | 4.42
819625A | Antenna, wireless modem | 53
819629A | TK kit, wireless modem | 225.65
819630C | Cap, retriever socket (10 pcs) | 113.29
819633A | USDA socket | 26.74
819634A | Cap, USDA socket | 9.42
819650B | Cable gland, M32 | 5.14
819651A | Multi-purpose precision lubricant CRC 2-26 | 102.46
819672C | Cable gland, M16x1.5 (10 pcs) | 19.1
819693C | Screw, controller door CIM 5 (10 pcs) | 180.74
819693D | Screw, controller door CIM 6 (10 pcs) | 103.52
819694B | Screw retainer (10 pcs) | 9.83
819695C | Receptacle screw, controller door (10 pcs) | 27.89
819737D | Ecomomizer valve, R134a | 82.46
819738D | Expansion valve, evaporator R134a | 83.89
819740B | Hot gas valve, CIM 5 | 110.57
819740C | Hot Gas Valve | 63.92
819745C | Oil plug, compressor (10 pcs) | 62.71
819746B | Nipple, pressure transmitter | 11.56
819747B | Liquid charging valve,receiver | 53.79
819750D | Service valve, compressor | 235.55
819753A | Schräder straight valve | 41.28
819754A | Schräder angle valve | 54.31
819755B | Schräder T valve | 59.64
819766B | Threaded bushing, FC mounting | 4.73
819775B | Cable gland angle, M16 | 6.58
819776B | Cable gland angle, M20 | 5.08
819875A | Vacuum hose, 3/4” | 21.35
819877A | Hose connector | 15.17
819904A | Heat conducting paste (HTCP) | 16.88
864658B | Compressor (Remanufactured) | 2689.37
868255C | Controller module, CIM 5 (remanufactured) | 764.19
868510D | Controller module, CIM 6.0 (remanufactured) | 801.19
868510E | Controller module, CIM 6.1 (remanufactured) | 804.49
868511B | Power measurement PCB, CIM 5 (remanufactured) | 230.35
868511C | Power measurement module, CIM 6 (remanufactured) | 268.15
868512A | Controller module, CA (remanufactured) | 496.3
868513A | User panel, CIM 6 (remanufactured) | 523.26
868515A | Display PCB, CIM 5 (remanufactured) | 304.14
868925A | Controller module, CIM 6.2 (remanufactured) | 813.86
881100A | Drain pipe kit (containers pre September 2012) (10 pcs) | 119.51
881101A | Drain pipe kit (containers post September 2012) (10 pcs) | 72.2
881204D | Back plate, evaporator (SCI 9,6’’) | 175.71
881504C | Mount plate, evaporator fans SCU | 296.7
881504D | Mount plate, CA evaporator fans | 176.84
881504E | Mount plate, evaporator fans SCI | 154.69
881523A | Defrost heater, evaporator (25 pcs) | 864.8
881525A | Coil, evaporator | 1895.8
881550A | Plug, evaporator service hole (10 pcs) | 113.62
885514A | Unit back plate lower, SCI (9'6") | 101.34
885521E | Pocket, supply temperature sensor | 10.75
885650A | Front baffle plate | 74.72
885655A | Front baffle retainer, SCI | 31.81
885655B | Front baffle retainer, SCU | 18.72
886200A | Solenoid coil, 6W 24VAC | 47.15
886554B | Solenoid coil, 11W 24VAC | 58.77
886610A | Power cable extension (4x4 mm2, 20 m/65 ft) | 205.9
886875A | Rechargeable replacement battery pack, CIM 6 (5 pcs) | 448.96
889200A | Economizer valve, version 3 | 56.71
889201A | Expansion valve, version 3 | 56.68
889250A | Self-locking nut M8 (100 pcs) | 47.53
889251A | Blind rivet Ø4.8x16 SS (100 pcs) | 27.89
889510A | Economizer valve, R134a and R513A | 62.75
889511A | Expansion valve, R134a and R513A | 62.75
889622F | RCD modem 3.1 (20 pcs) | 7781.49
889740C | Hot Gas Valve | 63.91
889749B | O-ring for valves (50 pcs) | 79.17
889926A | ArrowSpot door sensor | 264

## Ark1
Kompatibilitetsrapport for 2023-01-01-Star-Cool-LIST-PRICES-USD-upd.03.xls
Kørt 23-03-2023 11:15
Hvis projektmappen gemmes i et tidligere filformat eller åbnes i en tidligere version af Microsoft Excel, vil de viste funktioner ikke være tilgængelige.
Betydeligt funktionstab | Antal forekomster | Version
Nogle celler indeholder betinget formatering, hvor indstillingen 'Stop, hvis den er sand' ikke er valgt. Tidligere versioner af Excel genkender ikke denne indstilling og stopper efter den første sande betingelse. | 5
| USD'!B334:B335 | Excel 97-2003
USD'!B292
USD'!B308:B309
USD'!B346:B348